Copyright 2019 AIA
MasterSpec

LICENSED BY DELTEK, INC. TO VIVA RAILINGS, LLC.

SECTION 057300 - DECORATIVE METAL RAILINGS
PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. [Stainless steel] [Steel] decorative metal railings[, with infill panels].

2. Illuminated railings.

3. Wood railings.

4. Miscellaneous materials.

B. Related Requirements:

1. Section 057313 "Glazed Decorative Metal Railings" for structural glass-supported decorative metal railings and post-supported railings with glass-infill panels.
2. [Section 061000 "Rough Carpentry"] [Section 061053 "Miscellaneous Rough Carpentry"] for wood blocking for anchoring railings.

3. [Section 064013 "Exterior Architectural Woodwork"] [Section 064023 "Interior Architectural Woodwork"] for wood railings.

1.2 DEFINITIONS

A. Railings: Guards, handrails, and similar devices used for protection of occupants at open-sided floor areas and for pedestrian guidance and support, visual separation, or wall protection.

1.3 COORDINATION AND SCHEDULING

A. Coordinate installation of anchorages for railings. Furnish setting drawings, templates, and directions for installing anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors, that are to be embedded in concrete or masonry. Deliver items to Project site in time for installation.

B. Schedule installation so wall attachments are made only to completed walls. Do not support railings temporarily by any means that do not meet structural performance requirements.

1.4 ACTION SUBMITTALS

A. Product Data:

1. Manufacturer's product lines of [stainless steel] [steel] decorative metal railings assembled from standard components.

2. Stainless steel cable and cable fittings infill.

3. Perforated metal infill panels.

4. Woven-wire mesh infill panels.

5. Horizontal multiline infill panels.

6. Vertical picket infill panels.

7. Cable net infill panels.

8. Illuminated railings.

9. Wood railings.
B. Sustainable Design Submittals:

1. Product Data: For recycled content, indicating postconsumer and preconsumer recycled content and cost.
C. Shop Drawings: Include plans, elevations, sections, and attachment details.

1. For illuminated railings, include wiring diagrams and roughing-in details.

D. Finish Samples for Initial Selection: For products involving selection of color, texture, or design.

1.5 QUALITY ASSURANCE

A. Installer Qualifications: The manufacturer of railing system or a qualified installation firm that is approved, authorized, or licensed by railing system manufacturer to install manufacturer's products.
1.6 Mockups
A. Build mockups to verify selections made under Sample submittals, to demonstrate aesthetic effects, and to set quality standards for fabrication and installation.

1. Build mockups as [table-top assembly] [full-height assembly]
1.7 FIELD CONDITIONS

A. Field Measurements: Verify actual locations of walls and other construction contiguous with railings by field measurements before fabrication and indicate measurements on Shop Drawings.

PART 2 -  PRODUCTS

2.1 SOURCE LIMITATIONS

A. Obtain decorative metal railing systems from single source from single manufacturer. Systems must be designed, engineered, and fabricated by manufacturer of railing system.

2.2 MANUFACTURERS

A. Aluminum Decorative Metal Railings:

VIVA Railings, LLC, offers a full line of pre-engineered aluminum post, railing, and guard systems as specified below. For visual overview, see https://vivarailings.com/products/.

FRAME PANEL: Short "minimal profile steel bar posts" to steel stringer or balcony slab edge for a "floating" framed infill panel system (perforated aluminum or steel panel and wire mesh infills). Wide panel frame creates an integral top guard edge, eliminating the separate top rail. See https://vivarailings.com/products/frame-metal-panel-railing-system for product options.

1. Basis-of-Design Product: Subject to compliance with requirements, provide VIVA Railings, LLC (info@vivarailings , 972-353-8482); FRAME PANEL Railing System or comparable product by one of the following:

a. All Fab Railings & Metalworks

b. American Security & Gate Company

c. US Glass Fence

B. Illuminated Decorative Metal Railings:

1. Basis-of-Design Product: Subject to compliance with requirements, provide VIVA Railings, LLC; iRAIL [Linear] [Pods] Railing System or comparable product by one of the following:

C. Product Options: Drawings indicate size, profiles, and dimensional requirements of railings and are based on the specific system indicated. See Section 016000 "Product Requirements."

1. Do not modify intended aesthetic effects, as judged solely by Architect, except with Architect's approval. If modifications are proposed, submit comprehensive explanatory data to Architect for review.

2.3 PERFORMANCE REQUIREMENTS

A. Structural Performance: Decorative metal railings, including attachment to building construction, shall withstand the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

1. Handrails and Top Rails of Guards:

a. Uniform load of 50 lbf/ft. (0.73 kN/m) applied in any direction.

b. Concentrated load of 200 lbf (0.89 kN) applied in any direction.

c. Uniform and concentrated loads need not be assumed to act concurrently.

2. Infill of Guards:

a. Concentrated load of 50 lbf (0.22 kN) applied horizontally on an area of 1 sq. ft. (0.093 sq. m).

b. Infill load and other loads need not be assumed to act concurrently.

2.4 METALS

A. Steel Bar Posts: Hot-rolled, carbon steel complying with ASTM A29/A29M, Grade 1010.

B. Aluminum Plate and Sheet Infill Panels: ASTM B209 (ASTM B209M).

C. Handrail: [Tubular stainless steel pipe] [Wood] [Illuminated] with round cross-section shape.

Perforated metal infill panels are available with VIVA Railings' FRAME Railing System. See https://vivarailings.com/infill-systems-guide/perforated-metal-panel-infill/ for perforation pattern options.

D. Perforated Metal Infill Panels: Aluminum sheet with perforations, manufacturer's standard thickness, within nominal 2-inch- (51-mm-) wide aluminum angle frame, ground smooth without visible seams.

Retain "Basis-of-Design Product" Subparagraph below to require a specific product.

1. Basis-of-Design Product: Subject to compliance with requirements, provide VIVA Railings, LLC; [PMRO-0610] [PMRO-1014] [PMRO-1217] [PMSL-0325] [PMSL-1122] [PMSQ-1013].
2.5 ILLUMINATED RAILINGS
Revise "General" Paragraph below if using another type of railing. Product below is VIVA Railings' standard. See https://vivarailings.com/products/led-illuminated-railing-system/ for product options.
VIVA Railings iRAIL can be used as a Top Rail, Glass Top Cap, Assist Rail, Wall Rail, or FSR application.

A. General: Comply with requirements in this Section for metal railings with welded connections.

B. Illuminated Units: Provide internally wired [1-1/2-inch- (38-mm-) diameter stainless steel] [2-inch- (51-mm-) diameter stainless steel] [2-inch- (50-mm-) diameter wood] rail with integral LED light fixture system to illuminate walking surfaces adjacent to railings without light leaks. Make provisions for servicing and for concealed connection to electric service. Coordinate electrical characteristics with power supply provided.

1. Light Color: [Cool white; 4000 K] [Warm white; 3000 K].

2. IP Rating: IP67.

Retain next six subparagraphs below for iRail Linear illuminated rail system.

3. Light Output: [185 lumens/ft.] [250 lumens/ft.]

4. Beam Angle: 120 degrees.
5. Orientation: [Symmetrical] [Asymmetrical at 30 degrees].

6. LED Lens: [Clear] [Frosted].

7. CRI: Less than 90.

8. Power Supply: [120 V] [277 V] ac input, 12 V dc output.

Retain next six subparagraphs below for iRail Pods illuminated rail system.

9. Light Spacing: [18 inches (457 mm)] [36 inches (914 mm)] o.c.
10. Light Output: [90 lumens] [76 lumens].

11. Beam Angle: 60 degrees.

12. Orientation: [Symmetrical] [Asymmetrical at 22 degrees].

13. CRI: Less than 90.

14. Power Supply: [120 V] [277 V] ac input, 24 V dc output.

2.6 WOOD RAILINGS

A. Description: Clear, straight-grained hardwood rails secured to [recessed] [exposed] metal substrate.

1. Species: [Cherry] [Maple] [Red oak] [White oak] <Insert species>.

2. Finish: Manufacturer's standard unfinished.

3. Staining: In accordance with Section 099123 "Interior Painting."

4. Top Rail Profile: [Square, 1-3/4 by 1-3/4 inches (45 by 45 mm) with edges eased to 1/4-inch (6-mm) radius] [Rectangular, 1-3/4 by 5 inches (45 by 127 mm) with edges eased to 1/4-inch (6-mm) radius] [Round, 2-inch (50-mm) diameter] [As indicated] <Insert description>.

5. Handrail Profile: [Round, 2-inch (50-mm) diameter] [Round, 1-1/2-inch (38 mm) diameter, reinforced] [Rectangular, 1-1/4 by 1-3/4 inches (32 by 45 mm) with edges eased to 1/4-inch (6-mm) radius] [As indicated] <Insert description>.

B. Description: Hardwood rails complying with Section 064023 "Interior Architectural Woodwork."
2.7 FABRICATION

A. General: Fabricate decorative metal railings to comply with requirements indicated for design, dimensions, member sizes and spacing, details, finish, and anchorage[, but not less than that required to support structural loads].

B. Form work true to line and level with accurate angles and surfaces.

C. Fabricate connections that will be exposed to weather in a manner to exclude water.

1. Provide weep holes where water may accumulate.

2. Locate weep holes in inconspicuous locations.

D. Cut, reinforce, drill, and tap as indicated to receive finish hardware, screws, and similar items.

E. Mechanical Connections: Connect members with concealed mechanical fasteners and fittings.

1. Fabricate members and fittings to produce flush, smooth, rigid, hairline joints.

2. Fabricate splice joints for field connection using an epoxy structural adhesive if this is manufacturer's standard splicing method.

F. Perforated-Metal Infill Panels: Fabricate infill panels from perforated metal made from [aluminum] [stainless steel] [same metal as railings in which they are installed].

1. Frame panels with C-shaped channels made from stainless steel sheet, not less than 0.043 inch (1.1 mm) thick.

2. Orient perforated metal with pattern parallel to ground.

2.8 STAINLESS STEEL FINISHES

A. Surface Preparation: Remove tool and die marks and stretch lines, or blend into finish.

B. Stainless Steel Finishes:

1. Dull Satin Finish: ASTM A480/A480M, No. 6.

2.9 ALUMINUM FINISHES

A. Finish designations prefixed by AA comply with the system established by the Aluminum Association for designating aluminum finishes.

"Powder-Coat Finish" Paragraph below references AAMA standard for pigmented organic coating on extrusions and panels.

B. Powder-Coat Finish: AAMA 2603 except with a minimum dry film thickness of 1.5 mils (0.04 mm). Comply with coating manufacturer's written instructions for cleaning, conversion coating, and applying and baking finish.

1. Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

C. High-Performance Finish, complying with [AAMA 2604] [AAMA 2605]. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions [ for seacoast and severe environments].

1. Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Installation Tolerances: Structural steel and concrete slabs to be within 1/8 inch (3 mm) in 10 ft. (3.048 m) horizontally and 1/8 inch (3 mm) vertically. Correct out-of-tolerance conditions to meet railing manufacturer's requirements.

3.2 INSTALLATION, GENERAL

A. Comply with Drawings and manufacturer's written instructions for installing glazed decorative metal railings, accessories, and other components.

B. Perform cutting, drilling, and fitting required for installing railings.

1. Fit exposed connections together to form tight, hairline joints.

2. Install railings level, plumb, square, true to line; without distortion, warp, or rack.

3. Set railings accurately in location, alignment, and elevation; measured from established lines and levels.

C. Control of Corrosion: Prevent galvanic action and other forms of corrosion by insulating metals and other materials from direct contact with incompatible materials.

D. Adjust railings before anchoring to ensure matching alignment at abutting joints.

E. Fastening to In-Place Construction: Use anchorage devices and fasteners where necessary for securing railings and for properly transferring loads to in-place construction.

3.3 METAL RAILING CONNECTIONS

A. Nonwelded Connections: Use mechanical or adhesive joints for permanently connecting railing components. Use wood blocks and padding to prevent damage to railing members and fittings. Seal recessed holes of exposed locking screws, using plastic cement filler colored to match finish of railings.

3.4 INSTALLATION OF METAL RAILING

A. Metal Railings and Guards: Install assembly to comply with railing manufacturer's written instructions and with requirements in other Part 3 articles.

3.5 CLEANING

A. Clean [stainless steel] [and] [steel] by washing thoroughly with clean water and soap, rinsing with clean water, and wiping dry.

B. Clean wood rails by wiping with a damp cloth and then wiping dry.

3.6 PROTECTION

Maintain railing system with monthly washing with soap and water. This is particularly critical in salt environments or conditions to prevent corrosion.

A. Protect finishes of railings from damage during construction period with temporary protective coverings approved by railing manufacturer. Remove protective coverings at time of Substantial Completion.

B. Restore finishes damaged during installation and construction period, so no evidence remains of correction work. Return items that cannot be refinished in the field to the shop; make required alterations and refinish entire unit, or provide new units.

END OF SECTION 057300

	DECORATIVE METAL RAILINGS
	057300 - 1



